## Main_Sheet
Info: Use the drop down box to select the scenario
Year | 2030
Select scenario: | 2030_BS0005_ref

## 2030_BS0005_016
Basic_example_zorro_1 | 2030_BS0005_016
Import Strom flow | 1393614.1871
Total PV Flow | 6140301.1736
Total Wind Flow | 12718669.2599
Total Pumpspeicher Eingangsflow | 1255251.6033
Total Pumpspeicher Ausgangsflow | 1073240.1208
Umweltwaermemenge_Luft_waermepumpe | 215680.3653
Bus | From | To | Flow | Unit | Type
Bioholz | Bioholz Bus | Biomasse als Festbrennstoff | 5937790.2277 | MWh | Bus sequence
Bioholz | Bioholz Bus | Biomasse - Kraftwerk | 0 | MWh | Bus sequence
Bioholz | Bioholz Bus | Biomasse - Heizkraftwerk | 118482.7723 | MWh | Bus sequence
Bioholz | Bioholz Bus | Biomasse - Heizwerk | 0 | MWh | Bus sequence
Bioholz | Biomasse - Holz | Bioholz Bus | 6056273 | MWh | Component sequence
Biomass | Biomass Bus | Biogas-BHKW | 2784931 | MWh | Bus sequence
Biomass | Biomass Bus | Biogasaufbereitunganlage | 0 | MWh | Bus sequence
Biomass | Biomass Bus | Biomethaneinspeisungsanlage | 0 | MWh | Bus sequence
Biomass | Biomass Bus | Biomass to Liquid | 0 | MWh | Bus sequence
Biomass | Biomass Bus | excess_b_bio | 0 | MWh | Bus sequence
Biomass | Biomasse - Substrat | Biomass Bus | 2784931 | MWh | Component sequence
Fernwaerme | Fernwaerme Bus | Fernwaermespeicher | 3049912.4123 | MWh | Bus sequence
Fernwaerme | Fernwaerme Bus | Saisonaler Waermespeicher | 0 | MWh | Bus sequence
Fernwaerme | Fernwaerme Bus | Heat_demand_total | 3125811.857 | MWh | Bus sequence
Fernwaerme | Fernwaerme Bus | excess_b_distheat | 0 | MWh | Bus sequence
Fernwaerme | Biogas-BHKW | Fernwaerme Bus | 1392465.5 | MWh | Component sequence
Fernwaerme | Biomasse - Heizkraftwerk | Fernwaerme Bus | 67535.1802 | MWh | Component sequence
Fernwaerme | Biomasse - Heizwerk | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Elektodenheizstab | Fernwaerme Bus | 677400.2374 | MWh | Component sequence
Fernwaerme | GuD in KWK | Fernwaerme Bus | 824003.0526 | MWh | Component sequence
Fernwaerme | Fernwaermespeicher | Fernwaerme Bus | 2933576.3209 | MWh | Component sequence
Fernwaerme | Luft-Waermepumpe | Fernwaerme Bus | 280743.9781 | MWh | Component sequence
Fernwaerme | Abwaerme-Waermepumpe | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Erd-Waermepumpe | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Nachheizung - Heizstab | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Nachheizung - WP | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Solarthermie | Fernwaerme Bus | 0 | MWh | Component sequence
Strom | Strom Bus | Batteriespeicher | 0 | MWh | Bus sequence
Strom | Strom Bus | Elektodenheizstab | 684242.6641 | MWh | Bus sequence
Strom | Strom Bus | Electricity_demand_total | 12509271.8528 | MWh | Bus sequence
Strom | Strom Bus | Elektrolyse | 858012.9432 | MWh | Bus sequence
Strom | Strom Bus | Export_Electricity | 8400017.3762 | MWh | Bus sequence
Strom | Strom Bus | Luft-Waermepumpe | 65063.6128 | MWh | Bus sequence
Strom | Strom Bus | Abwaerme-Waermepumpe | 0 | MWh | Bus sequence
Strom | Strom Bus | Erd-Waermepumpe | 0 | MWh | Bus sequence
Strom | Strom Bus | Hös<->HS | 43130.0236 | MWh | Bus sequence
Strom | Strom Bus | Li-Ion_Battery | 0 | MWh | Bus sequence
Strom | Strom Bus | Natrium_Battery | 311582.5379 | MWh | Bus sequence
Strom | Strom Bus | Nachheizung - Heizstab | 0 | MWh | Bus sequence
Strom | Strom Bus | Nachheizung - WP | 0 | MWh | Bus sequence
Strom | Strom Bus | Power to Liquid | 0 | MWh | Bus sequence
Strom | Strom Bus | Pumped_hydro_technology | 1388039.0398 | MWh | Bus sequence
Strom | Strom Bus | Red-OX_Battery | 0 | MWh | Bus sequence
Strom | Strom Bus | excess_b_el | 0 | MWh | Bus sequence
Strom | Batteriespeicher | Strom Bus | 0 | MWh | Component sequence
Strom | Biogas-BHKW | Strom Bus | 1197520.33 | MWh | Component sequence
Strom | Biomasse - Kraftwerk | Strom Bus | 0 | MWh | Component sequence
Strom | Biomasse - Heizkraftwerk | Strom Bus | 39099.3149 | MWh | Component sequence
Strom | Brennstoffzelle | Strom Bus | 0 | MWh | Component sequence
Strom | GuD in KWK | Strom Bus | 1246568.7207 | MWh | Component sequence
Strom | Wasserkraft | Strom Bus | 195270.86 | MWh | Component sequence
Strom | Hös<->HS | Strom Bus | 1426814.8681 | MWh | Component sequence
Strom | Li-Ion_Battery | Strom Bus | 0 | MWh | Component sequence
Strom | Natrium_Battery | Strom Bus | 280424.2841 | MWh | Component sequence
Strom | PV_open_east | Strom Bus | 1045545.2003 | MWh | Component sequence
Strom | PV_open_middle | Strom Bus | 1919776.7231 | MWh | Component sequence
Strom | PV_open_north | Strom Bus | 1760316.9748 | MWh | Component sequence
Strom | PV_open_swest | Strom Bus | 1414662.2754 | MWh | Component sequence
Strom | PV_rooftop_east | Strom Bus | 0 | MWh | Component sequence
Strom | PV_rooftop_middle | Strom Bus | 0 | MWh | Component sequence
Strom | PV_rooftop_north | Strom Bus | 0 | MWh | Component sequence
Strom | PV_rooftop_swest | Strom Bus | 0 | MWh | Component sequence
Strom | Pumped_hydro_technology | Strom Bus | 1014691.239 | MWh | Component sequence
Strom | Red-OX_Battery | Strom Bus | 0 | MWh | Component sequence
Strom | Wind_east | Strom Bus | 4111777.5277 | MWh | Component sequence
Strom | Wind_middle | Strom Bus | 3756028.4264 | MWh | Component sequence
Strom | Wind_north | Strom Bus | 2781520.7111 | MWh | Component sequence
Strom | Wind_swest | Strom Bus | 2069342.5946 | MWh | Component sequence
Electricity_Hös | Electricity_Hös Bus | Hös<->HS | 1426814.8681 | MWh | Bus sequence
Electricity_Hös | Electricity_Hös Bus | Pumpspeicherkraftwerk - Goldistal | 68478.2243 | MWh | Bus sequence
Electricity_Hös | Hös<->HS | Electricity_Hös Bus | 43130.0236 | MWh | Component sequence
Electricity_Hös | Import - Stromboerse | Electricity_Hös Bus | 1393614.1871 | MWh | Component sequence
Electricity_Hös | Pumpspeicherkraftwerk - Goldistal | Electricity_Hös Bus | 58548.8818 | MWh | Component sequence
Umweltwaerme | Umweltwaerme Bus | Erd-Waermepumpe | 0 | MWh | Bus sequence
Umweltwaerme | Umweltwaerme | Umweltwaerme Bus | 0 | MWh | Component sequence
Gas | Gas Bus | Gas_demand_total | 9404868.251 | MWh | Bus sequence
Gas | Gas Bus | Erdgasspeicher | 0 | MWh | Bus sequence
Gas | Gas Bus | GuD in KWK | 2112828.3401 | MWh | Bus sequence
Gas | Gas Bus | Material_demand_Gas | 27774.6068 | MWh | Bus sequence
Gas | Gas Bus | excess_b_gas | 0 | MWh | Bus sequence
Gas | Biogasaufbereitunganlage | Gas Bus | 0 | MWh | Component sequence
Gas | Biomethaneinspeisungsanlage | Gas Bus | 0 | MWh | Component sequence
Gas | Erdgasspeicher | Gas Bus | 0 | MWh | Component sequence
Gas | Import - Gasnetz | Gas Bus | 11545471.1979 | MWh | Component sequence
Gas | Methanisierung | Gas Bus | 0 | MWh | Component sequence
Wassterstoff | Wassterstoff Bus | Export_Hydrogen | 583448.8013 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Brennstoffzelle | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Wasserstoffspeicher | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Hydrogen_demand_total | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Methanisierung | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Power to Liquid | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | excess_b_H2 | 0 | MWh | Bus sequence
Wassterstoff | Elektrolyse | Wassterstoff Bus | 583448.8013 | MWh | Component sequence
Wassterstoff | Wasserstoffspeicher | Wassterstoff Bus | 0 | MWh | Component sequence
Wassterstoff | Import - Wasserstoff | Wassterstoff Bus | 0 | MWh | Component sequence
Oel&Kraftstoff | Oel&Kraftstoff Bus | Material_demand_Oil | 1138758.8787 | MWh | Bus sequence
Oel&Kraftstoff | Oel&Kraftstoff Bus | Oil & fuel_demand_total | 11008865.4422 | MWh | Bus sequence
Oel&Kraftstoff | Oel&Kraftstoff Bus | excess_b_oil_fuel | 0 | MWh | Bus sequence
Oel&Kraftstoff | Biomass to Liquid | Oel&Kraftstoff Bus | 0 | MWh | Component sequence
Oel&Kraftstoff | Import - Heizoel & Kraftstoffe | Oel&Kraftstoff Bus | 12147624.321 | MWh | Component sequence
Oel&Kraftstoff | Import - Synth. Kraftstoffe | Oel&Kraftstoff Bus | 0 | MWh | Component sequence
Oel&Kraftstoff | Power to Liquid | Oel&Kraftstoff Bus | 0 | MWh | Component sequence
Nachheizung | Nachheizung Bus | Nachheizung - Heizstab | 0 | MWh | Bus sequence
Nachheizung | Nachheizung Bus | Nachheizung - WP | 0 | MWh | Bus sequence
Nachheizung | Saisonaler Waermespeicher | Nachheizung Bus | 0 | MWh | Component sequence
Pumped-Hydro | Pumped-Hydro Bus | Pumpspeicherkraftwerk | 1186773.379 | MWh | Bus sequence
Pumped-Hydro | Pumped-Hydro Bus | Pumped_hydro_technology | 1014691.239 | MWh | Bus sequence
Pumped-Hydro | Pumpspeicherkraftwerk | Pumped-Hydro Bus | 1014691.239 | MWh | Component sequence
Pumped-Hydro | Pumped_hydro_technology | Pumped-Hydro Bus | 1186773.379 | MWh | Component sequence
Abwaerme | Abwaerme Bus | Abwaerme-Waermepumpe | 0 | MWh | Bus sequence
Abwaerme | AW | Abwaerme Bus | 0 | MWh | Component sequence
Festbrennstoff | Festbrennstoff Bus | Biomass_demand_total | 6470646.0804 | MWh | Bus sequence
Festbrennstoff | Biomasse als Festbrennstoff | Festbrennstoff Bus | 5937790.2277 | MWh | Component sequence
Festbrennstoff | Import - Braunkohle | Festbrennstoff Bus | 0 | MWh | Component sequence
Festbrennstoff | Import - Steinkohle | Festbrennstoff Bus | 532855.8527 | MWh | Component sequence
None | Batteriespeicher | None Bus | 0 | MWh | Component sequence
None | Erdgasspeicher | None Bus | 0 | MWh | Component sequence
None | Wasserstoffspeicher | None Bus | 0 | MWh | Component sequence
None | Fernwaermespeicher | None Bus | 0 | MWh | Component sequence
None | Saisonaler Waermespeicher | None Bus | 0 | MWh | Component sequence
None | Li-Ion_Battery | None Bus | 0 | MWh | Component sequence
None | Natrium_Battery | None Bus | 0 | MWh | Component sequence
None | Pumpspeicherkraftwerk | None Bus | 0 | MWh | Component sequence
None | Pumpspeicherkraftwerk - Goldistal | None Bus | 0 | MWh | Component sequence
None | Red-OX_Battery | None Bus | 0 | MWh | Component sequence

## 2030_BS0005_ref
Basic_example_zorro_1 | 2030_BS0005_ref
Import Strom flow | 1393614.1871
Total PV Flow | 6140301.1736
Total Wind Flow | 12718669.2599
Total Pumpspeicher Eingangsflow | 1255251.6033
Total Pumpspeicher Ausgangsflow | 1073240.1208
Umweltwaermemenge_Luft_waermepumpe | 215680.3653
Bus | From | To | Flow | Unit | Type
Bioholz | Bioholz Bus | Biomasse als Festbrennstoff | 5937790.2277 | MWh | Bus sequence
Bioholz | Bioholz Bus | Biomasse - Kraftwerk | 0 | MWh | Bus sequence
Bioholz | Bioholz Bus | Biomasse - Heizkraftwerk | 118482.7723 | MWh | Bus sequence
Bioholz | Bioholz Bus | Biomasse - Heizwerk | 0 | MWh | Bus sequence
Bioholz | Biomasse - Holz | Bioholz Bus | 6056273 | MWh | Component sequence
Biomass | Biomass Bus | Biogas-BHKW | 2784931 | MWh | Bus sequence
Biomass | Biomass Bus | Biogasaufbereitunganlage | 0 | MWh | Bus sequence
Biomass | Biomass Bus | Biomethaneinspeisungsanlage | 0 | MWh | Bus sequence
Biomass | Biomass Bus | Biomass to Liquid | 0 | MWh | Bus sequence
Biomass | Biomass Bus | excess_b_bio | 0 | MWh | Bus sequence
Biomass | Biomasse - Substrat | Biomass Bus | 2784931 | MWh | Component sequence
Fernwaerme | Fernwaerme Bus | Fernwaermespeicher | 3049912.4123 | MWh | Bus sequence
Fernwaerme | Fernwaerme Bus | Saisonaler Waermespeicher | 0 | MWh | Bus sequence
Fernwaerme | Fernwaerme Bus | Heat_demand_total | 3125811.857 | MWh | Bus sequence
Fernwaerme | Fernwaerme Bus | excess_b_distheat | 0 | MWh | Bus sequence
Fernwaerme | Biogas-BHKW | Fernwaerme Bus | 1392465.5 | MWh | Component sequence
Fernwaerme | Biomasse - Heizkraftwerk | Fernwaerme Bus | 67535.1802 | MWh | Component sequence
Fernwaerme | Biomasse - Heizwerk | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Elektodenheizstab | Fernwaerme Bus | 677400.2374 | MWh | Component sequence
Fernwaerme | GuD in KWK | Fernwaerme Bus | 824003.0526 | MWh | Component sequence
Fernwaerme | Fernwaermespeicher | Fernwaerme Bus | 2933576.3209 | MWh | Component sequence
Fernwaerme | Luft-Waermepumpe | Fernwaerme Bus | 280743.9781 | MWh | Component sequence
Fernwaerme | Abwaerme-Waermepumpe | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Erd-Waermepumpe | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Nachheizung - Heizstab | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Nachheizung - WP | Fernwaerme Bus | 0 | MWh | Component sequence
Fernwaerme | Solarthermie | Fernwaerme Bus | 0 | MWh | Component sequence
Strom | Strom Bus | Batteriespeicher | 0 | MWh | Bus sequence
Strom | Strom Bus | Elektodenheizstab | 684242.6641 | MWh | Bus sequence
Strom | Strom Bus | Electricity_demand_total | 12509271.8528 | MWh | Bus sequence
Strom | Strom Bus | Elektrolyse | 858012.9432 | MWh | Bus sequence
Strom | Strom Bus | Export_Electricity | 8400017.3762 | MWh | Bus sequence
Strom | Strom Bus | Luft-Waermepumpe | 65063.6128 | MWh | Bus sequence
Strom | Strom Bus | Abwaerme-Waermepumpe | 0 | MWh | Bus sequence
Strom | Strom Bus | Erd-Waermepumpe | 0 | MWh | Bus sequence
Strom | Strom Bus | Hös<->HS | 43130.0236 | MWh | Bus sequence
Strom | Strom Bus | Li-Ion_Battery | 0 | MWh | Bus sequence
Strom | Strom Bus | Natrium_Battery | 311582.5379 | MWh | Bus sequence
Strom | Strom Bus | Nachheizung - Heizstab | 0 | MWh | Bus sequence
Strom | Strom Bus | Nachheizung - WP | 0 | MWh | Bus sequence
Strom | Strom Bus | Power to Liquid | 0 | MWh | Bus sequence
Strom | Strom Bus | Pumped_hydro_technology | 1388039.0398 | MWh | Bus sequence
Strom | Strom Bus | Red-OX_Battery | 0 | MWh | Bus sequence
Strom | Strom Bus | excess_b_el | 0 | MWh | Bus sequence
Strom | Batteriespeicher | Strom Bus | 0 | MWh | Component sequence
Strom | Biogas-BHKW | Strom Bus | 1197520.33 | MWh | Component sequence
Strom | Biomasse - Kraftwerk | Strom Bus | 0 | MWh | Component sequence
Strom | Biomasse - Heizkraftwerk | Strom Bus | 39099.3149 | MWh | Component sequence
Strom | Brennstoffzelle | Strom Bus | 0 | MWh | Component sequence
Strom | GuD in KWK | Strom Bus | 1246568.7207 | MWh | Component sequence
Strom | Wasserkraft | Strom Bus | 195270.86 | MWh | Component sequence
Strom | Hös<->HS | Strom Bus | 1426814.8681 | MWh | Component sequence
Strom | Li-Ion_Battery | Strom Bus | 0 | MWh | Component sequence
Strom | Natrium_Battery | Strom Bus | 280424.2841 | MWh | Component sequence
Strom | PV_open_east | Strom Bus | 1045545.2003 | MWh | Component sequence
Strom | PV_open_middle | Strom Bus | 1919776.7231 | MWh | Component sequence
Strom | PV_open_north | Strom Bus | 1760316.9748 | MWh | Component sequence
Strom | PV_open_swest | Strom Bus | 1414662.2754 | MWh | Component sequence
Strom | PV_rooftop_east | Strom Bus | 0 | MWh | Component sequence
Strom | PV_rooftop_middle | Strom Bus | 0 | MWh | Component sequence
Strom | PV_rooftop_north | Strom Bus | 0 | MWh | Component sequence
Strom | PV_rooftop_swest | Strom Bus | 0 | MWh | Component sequence
Strom | Pumped_hydro_technology | Strom Bus | 1014691.239 | MWh | Component sequence
Strom | Red-OX_Battery | Strom Bus | 0 | MWh | Component sequence
Strom | Wind_east | Strom Bus | 4111777.5277 | MWh | Component sequence
Strom | Wind_middle | Strom Bus | 3756028.4264 | MWh | Component sequence
Strom | Wind_north | Strom Bus | 2781520.7111 | MWh | Component sequence
Strom | Wind_swest | Strom Bus | 2069342.5946 | MWh | Component sequence
Electricity_Hös | Electricity_Hös Bus | Hös<->HS | 1426814.8681 | MWh | Bus sequence
Electricity_Hös | Electricity_Hös Bus | Pumpspeicherkraftwerk - Goldistal | 68478.2243 | MWh | Bus sequence
Electricity_Hös | Hös<->HS | Electricity_Hös Bus | 43130.0236 | MWh | Component sequence
Electricity_Hös | Import - Stromboerse | Electricity_Hös Bus | 1393614.1871 | MWh | Component sequence
Electricity_Hös | Pumpspeicherkraftwerk - Goldistal | Electricity_Hös Bus | 58548.8818 | MWh | Component sequence
Umweltwaerme | Umweltwaerme Bus | Erd-Waermepumpe | 0 | MWh | Bus sequence
Umweltwaerme | Umweltwaerme | Umweltwaerme Bus | 0 | MWh | Component sequence
Gas | Gas Bus | Gas_demand_total | 9404868.251 | MWh | Bus sequence
Gas | Gas Bus | Erdgasspeicher | 0 | MWh | Bus sequence
Gas | Gas Bus | GuD in KWK | 2112828.3401 | MWh | Bus sequence
Gas | Gas Bus | Material_demand_Gas | 27774.6068 | MWh | Bus sequence
Gas | Gas Bus | excess_b_gas | 0 | MWh | Bus sequence
Gas | Biogasaufbereitunganlage | Gas Bus | 0 | MWh | Component sequence
Gas | Biomethaneinspeisungsanlage | Gas Bus | 0 | MWh | Component sequence
Gas | Erdgasspeicher | Gas Bus | 0 | MWh | Component sequence
Gas | Import - Gasnetz | Gas Bus | 11545471.1979 | MWh | Component sequence
Gas | Methanisierung | Gas Bus | 0 | MWh | Component sequence
Wassterstoff | Wassterstoff Bus | Export_Hydrogen | 583448.8013 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Brennstoffzelle | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Wasserstoffspeicher | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Hydrogen_demand_total | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Methanisierung | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | Power to Liquid | 0 | MWh | Bus sequence
Wassterstoff | Wassterstoff Bus | excess_b_H2 | 0 | MWh | Bus sequence
Wassterstoff | Elektrolyse | Wassterstoff Bus | 583448.8013 | MWh | Component sequence
Wassterstoff | Wasserstoffspeicher | Wassterstoff Bus | 0 | MWh | Component sequence
Wassterstoff | Import - Wasserstoff | Wassterstoff Bus | 0 | MWh | Component sequence
Oel&Kraftstoff | Oel&Kraftstoff Bus | Material_demand_Oil | 1138758.8787 | MWh | Bus sequence
Oel&Kraftstoff | Oel&Kraftstoff Bus | Oil & fuel_demand_total | 11008865.4422 | MWh | Bus sequence
Oel&Kraftstoff | Oel&Kraftstoff Bus | excess_b_oil_fuel | 0 | MWh | Bus sequence
Oel&Kraftstoff | Biomass to Liquid | Oel&Kraftstoff Bus | 0 | MWh | Component sequence
Oel&Kraftstoff | Import - Heizoel & Kraftstoffe | Oel&Kraftstoff Bus | 12147624.321 | MWh | Component sequence
Oel&Kraftstoff | Import - Synth. Kraftstoffe | Oel&Kraftstoff Bus | 0 | MWh | Component sequence
Oel&Kraftstoff | Power to Liquid | Oel&Kraftstoff Bus | 0 | MWh | Component sequence
Nachheizung | Nachheizung Bus | Nachheizung - Heizstab | 0 | MWh | Bus sequence
Nachheizung | Nachheizung Bus | Nachheizung - WP | 0 | MWh | Bus sequence
Nachheizung | Saisonaler Waermespeicher | Nachheizung Bus | 0 | MWh | Component sequence
Pumped-Hydro | Pumped-Hydro Bus | Pumpspeicherkraftwerk | 1186773.379 | MWh | Bus sequence
Pumped-Hydro | Pumped-Hydro Bus | Pumped_hydro_technology | 1014691.239 | MWh | Bus sequence
Pumped-Hydro | Pumpspeicherkraftwerk | Pumped-Hydro Bus | 1014691.239 | MWh | Component sequence
Pumped-Hydro | Pumped_hydro_technology | Pumped-Hydro Bus | 1186773.379 | MWh | Component sequence
Abwaerme | Abwaerme Bus | Abwaerme-Waermepumpe | 0 | MWh | Bus sequence
Abwaerme | AW | Abwaerme Bus | 0 | MWh | Component sequence
Festbrennstoff | Festbrennstoff Bus | Biomass_demand_total | 6470646.0804 | MWh | Bus sequence
Festbrennstoff | Biomasse als Festbrennstoff | Festbrennstoff Bus | 5937790.2277 | MWh | Component sequence
Festbrennstoff | Import - Braunkohle | Festbrennstoff Bus | 0 | MWh | Component sequence
Festbrennstoff | Import - Steinkohle | Festbrennstoff Bus | 532855.8527 | MWh | Component sequence
None | Batteriespeicher | None Bus | 0 | MWh | Component sequence
None | Erdgasspeicher | None Bus | 0 | MWh | Component sequence
None | Wasserstoffspeicher | None Bus | 0 | MWh | Component sequence
None | Fernwaermespeicher | None Bus | 0 | MWh | Component sequence
None | Saisonaler Waermespeicher | None Bus | 0 | MWh | Component sequence
None | Li-Ion_Battery | None Bus | 0 | MWh | Component sequence
None | Natrium_Battery | None Bus | 0 | MWh | Component sequence
None | Pumpspeicherkraftwerk | None Bus | 0 | MWh | Component sequence
None | Pumpspeicherkraftwerk - Goldistal | None Bus | 0 | MWh | Component sequence
None | Red-OX_Battery | None Bus | 0 | MWh | Component sequence